## Slide 1
3D 6Axis Robotic Arm Simulator System with Python-wxPython-OpenGL and OPC-UA

## Slide 2
LEVEL0-Production Process [Sensors and Signals ]
LEVEL2-Monitoring & Supervising [SCADA & HMI]
LEVEL1-Sensing & Manipulating [PLC]
LEVEL3-Manufacturing Operations Management [MES]
LEVEL4-Business Planning & Logistic [ERP]
Ground Cube Position Sensor
Robot Joint Rotation Angle Sensors : base, Shoulder, Elbow, Wrist, Gripper Rotation
Robot Servo Motor Signal: base, Shoulder, Elbow, Wrist, Gripper Rotation and Opening.
Robot Arm Control PLC
PLC Input
PLC Output
Simulated Electrical signal
OPCUA-TCP
The ISA-95 Automation Levels and Functions Pyramid
Python Virtual PLC Simulator with IEC 62541 OPC-UA-TCP
3D Robot Arm Simulator
Robot Arm Simulator OPCUA Remote Human Machine Interface
3D_6Axis_Robotic_Arm_Simulator with Python-wxPython-OpenGL and OPC-UA

## Slide 3
LEVEL0-Production Process [Sensors and Signals ]
LEVEL2-Monitoring & Supervising [SCADA & HMI]
LEVEL1-Sensing & Manipulating [PLC]
LEVEL3-Manufacturing Operations Management [MES]
LEVEL4-Business Planning & Logistic [ERP]
Ground Cube Position Sensor
Robot Joint Rotation Angle Sensors : base, Shoulder, Elbow, Wrist, Gripper Rotation
Robot Servo Motor Signal: base, Shoulder, Elbow, Wrist, Gripper Rotation and Opening.
Robot Arm Control PLC
PLC Input
PLC Output
Simulated Electrical signal
OPCUA-TCP
The ISA-95 Automation Levels and Functions Pyramid
3D_6Axis_Robotic_Arm_Simulator with Python-wxPython-OpenGL and OPC-UA

## Slide 4
LEVEL0 Production Process
UDP Simulated Sensor Value to PLC input
3D Robot Arm Simulator
Ground Cube Position Sensor
Robot Joint Rotation Angle Sensors : base, Shoulder, Elbow, Wrist, Gripper Rotation
OPC-UA PLC Simulation
LEVEL1 Sensing & Manipulating
Var_Int16
PLC input variables
UA-Name Space
OPC-UA-TCP Server
SCADA HMI/Console Program
OPC-UA-TCP Client
LEVEL2-Monitoring & Supervising
Periodic message
UDP Simulated Motor Siganl to PLC output
Var_Float
Var_Bool
Var_Float
PLC output variables
Ladder Logic
UA-Object
UA-int16
UA-float
UA-bool
UA Data Structure
Robot Servo Motor Signal : base, Shoulder, Elbow, Wrist, Gripper Rotation and Opening.
Coordinate Val
Angle Val
State Val
Servo Motor Angle
Gripper Sensor State
Joint Angle
Cube Position
Cube Position Display Manager
Joint Current Angle Display manager
Motor Angle
Controller
Robot Arm Controller
Robot Arm User Manual Control
Pre-load Auto Control Action config file

## Slide 5
OpenGL Robot Arm Canvas
Local Control Panel
Cube Object
Max range robot arm can reach
Axis-0: Base Rotation Angle
Axis-1: Shoulder Rotation Angle
Axis-2: Elbow Rotation Angle
Axis-3: Wrist Rotation Angle
Axis-4: Gripper Rotation Angle
Axis-5: Gripper Opening Angle
Local Control Enable/Disable Checkbox
Base Servo Motor Control Slider
Cube Grond Sensor Grid
Should Servo Motor Control Slider
Elbow Servo Motor Control Slider
Wrist Servo Motor Control Slider
Gripper Rotation Servo Motor Control Slider
Gripper Opening Servo Motor Control Slider
Cube Grab and Release Control Button
Calculated Gripper Position Coordinate
Cube Position Coordinate Display
Current Operational State
Reset Button
Link-0
Link-1
Link-2
Link-3

## Slide 6
OpenGL Robot Arm Canvas
Cube Object
Max range robot arm can reach
Axis-0: Base Rotation Angle
Axis-1: Shoulder Rotation Angle
Axis-2: Elbow Rotation Angle
Axis-3: Wrist Rotation Angle
Axis-4: Gripper Rotation Angle
Axis-5: Gripper Opening Angle
Cube Grond Sensor Grid
Link-0
Link-1
Link-2
Link-3

## Slide 7
PLC Connection Protocol Selection
Current PLC Connection State
Cube Position X-Y Projection display
Joint sensor and motor angle display panel
Servo motor control slider
Current PLC Sensor Angle data [Green]
Current PLC Motor Target Angle data [Yellow ]
Cube Position
Reset Button
Robot Arm Action Sequence load and execution control

## Slide 8
Axis-0: Base Rotation Angle
Cube distance
Axis-0: Base Rotation Angle = arctan(y/x), if x=0 and y >0 : 90, if x=0 y<0: -90.
Cube distance = sqrt(x^2 + y^2)
a = cos(theta1)*1.5
b = cos(theta1+theta2)*1
c = cos(theta1+theta2+theta3)*0.5
X-Axis Cube distance = sqrt(x^2 + y^2) = a +b +c
d = sing(theta1)*1.5
e = sing(theta1+theta2)*1
f = sin(theta1+theta2+theta3)*0.5
Z-Axis distance = 2 = d +e +f
a
b
c
d
e
f
theta0: Base motor rotation angle
theta1 : Shoulder motor rotation angle
theta2 : Elbow motor rotation angle
theta3: Wrist motor rotation angle

## Slide 9
Axis-1: Shoulder motor Angle (x)
Axis-2: Elbow motor angle (y)
Axis-3: motor angle (z)

## Slide 10
CISS 2024 Control The Orthanc Obstacles Challenge
Deutschlands Bester Hacker 2024 OT Challenge 1

## Slide 11
Network type : NAT
IP:192.168.10.11
Robot Arm Simulator VM
OPCUA PLC Simulator VM
Network type : NAT
Windows 10/11
Ubuntu 20.04
Robot Arm Remote Controller VM
Windows 10/11
Network type : NAT
IP:192.168.12.11
IP:192.168.10.12
IP:192.168.10.12
Network type : NAT
IP:192.168.10.11
Robot Arm Simulator VM
OPCUA PLC Simulator VM
Network type : NAT
IP:192.168.10.12
Robot Arm Remote Controller VM
Windows 10/11
Network type : NAT
IP:192.168.10.13
Switch 1
[192.168.10.1]

## Slide 12
Base
Shoulder
Elbow
Wrist
Wrist
Gripper
Gripper Finger
Max Touch Range